## Ventus Platinium_2025
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79 | 80 | 81 | 82 | 83 | 84 | 85 | 86 | 87 | 88 | 89 | 90 | 91 | 92 | 93 | 94 | 95 | 96 | 97 | 98 | 99 | 100 | 101 | 102 | 103 | 104 | 105 | 106 | 107 | 108 | 109 | 110 | 111 | 112 | 113 | 114 | 115 | 116 | 117 | 118 | 119 | 120 | 121 | 122 | 123 | 124 | 125 | 126 | 127 | 128 | 129 | 130 | 131 | 132 | 133 | 134 | 135 | 136 | 137 | 138 | 139 | 140 | 141 | 142 | 143 | 144 | 145 | 146 | 147 | 148 | 149 | 150 | 151 | 152 | 153 | 154 | 155 | 156 | 157 | 158 | 159 | 160 | 161 | 162 | 163 | 164 | 165 | 166 | 167 | 168 | 169 | 170 | 171 | 172 | 173 | 174 | 175 | 176 | 177 | 178 | 179 | 180 | 181 | 182 | 183 | 184 | 185 | 186 | 187 | 188 | 189 | 190 | 191 | 192 | 193 | 194 | 195 | 196 | 197 | 198 | 199 | 200 | 201 | 202 | 203 | 204 | 205 | 206 | 207 | 208 | 209 | 210 | 211 | 212 | 213 | 214 | 215 | 216 | 217 | 218 | 219 | 220 | 221 | 222 | 223 | 224 | 225 | 226 | 227 | 228 | 229 | 230 | 231 | 232 | 233 | 234 | 235 | 236 | 237 | 238 | 239 | 240 | 241 | 242 | 243 | 244 | 245 | 246 | 247 | 248 | 249 | 250 | 251 | 252 | 253 | 254 | 255 | 256 | 257 | 258 | 259 | 260 | 261 | 262 | 263 | 264 | 265 | 266 | 267 | 268 | 269 | 270 | 271 | 272 | 273 | 274 | 275 | 276 | 277 | 278 | 279 | 280 | 281 | 282 | 283 | 284 | 285 | 286 | 287 | 288 | 289 | 290 | 291 | 292 | 293 | 294 | 295 | 296 | 297 | 298 | 299 | 300 | 301 | 302 | 303 | 304 | 305 | 306 | 307 | 308 | 309 | 310 | 311 | 312 | 313
Quarter | Year | Brand name | Brand logo | Region | Unit photo | Unit name | Unit type | Execution | Unit size quantity_RRG | Unit size quantity_HEX | Eurovent Certificate | Casing Strength (Eurovent) | Casing leakage, negative pressure (Eurovent) | Casing leakage, positive pressure (Eurovent) | Filter mounting leakage (Eurovent) | Thermal isolation (Eurovent) | Thermal bridges (Eurovent) | VDI 6022-1 certification | S | E | SE w/o recovery | SE with RRG | SE with PCR/HEX | SE with glycol | Insulation material | Insulation thickness | Metal sheet (Internal) | Metal sheet thickness (Internal) | Metal sheet (External) | Metal sheet thickness (External) | Unit size | Recovery type1 | Recovery type2 | Minimum airflow | Maximum airflow | Maximum airflow (ErP2018) | Air speed on Filter at max airflow (ErP) | Internal Width (Supply Filter) | Internal Height (Supply Filter) | Unit cross section area (Supply Filter) | Internal Width (Supply Fan) | Internal Height (Supply Fan) | x1 | x2 | x3 | x4 | x5 | y1 | y2 | y3 | y4 | y5 | x6 | x7 | x8 | x9 | x10 | y6 | y7 | y8 | y9 | y10 | Unit cross section area (Supply Fan) | Duct connection Width | Duct connection Height | x11 | x12 | x13 | x14 | x15 | y11 | y12 | y13 | y14 | y15 | Duct connection Diameter | Rotary wheel_typ1 | Wheel diameter | Distance between lamels | Efficiency at nominal balanced airflows | Efficiency at max balanced airflows | Rotary wheel_typ2 | Wheel diameter | Distance between lamels | Efficiency at nominal balanced airflows | Efficiency at max balanced airflows | HEX material_typ1 | Efficiency at nominal balanced airflows | Efficiency at max balanced airflows | HEX material_typ2 | Efficiency at nominal balanced airflows | Efficiency at max balanced airflows | Motor type | Motor quantity | Motor rated power | Impeller size | Impeller efficiency at nominal airflow | Heating elements type | Capacity range_1 | Capacity range_2 | Capacity range_3 | Heating elements type | Capacity range_1 | Capacity range_2 | Capacity range_3 | Water heater_min rows | Water heater_max rows | Water cooler_min rows | Water cooler_max rows | DXH_min rows | DXH_max rows | DXH sections range | Available refrigerant types | Filter type_typ1 | Filtration class_typ1 | Filtration efficiency_typ1 | Initial PD at nominal airflow_typ1 | Final PD_typ1 | Filter type_typ2 | Filtration class_typ1 | Filtration efficiency_typ1 | Initial PD at nominal airflow_typ1 | Final PD_typ1 | Silencer casing | Unit size | Recovery type1 | Recovery type2 | Minimum airflow | Maximum airflow | Maximum airflow (ErP2018) | Air speed on Filter at max airflow (ErP) | Internal Width (Supply Filter) | Internal Height (Supply Filter) | Unit cross section area (Supply Filter) | Internal Width (Supply Fan) | Internal Height (Supply Fan) | x1 | x2 | x3 | x4 | x5 | y1 | y2 | y3 | y4 | y5 | x6 | x7 | x8 | x9 | x10 | y6 | y7 | y8 | y9 | y10 | Unit cross section area (Supply Fan) | Duct connection Width | Duct connection Height | x11 | x12 | x13 | x14 | x15 | y11 | y12 | y13 | y14 | y15 | Duct connection Diameter | Rotary wheel_typ1 | Wheel diameter | Distance between lamels | Efficiency at nominal balanced airflows | Efficiency at max balanced airflows | Rotary wheel_typ2 | Wheel diameter | Distance between lamels | Efficiency at nominal balanced airflows | Efficiency at max balanced airflows | HEX material_typ1 | Efficiency at nominal balanced airflows | Efficiency at max balanced airflows | HEX material_typ2 | Efficiency at nominal balanced airflows | Efficiency at max balanced airflows | Motor type | Motor quantity | Motor rated power | Impeller size | Impeller efficiency at nominal airflow | Heating elements type | Capacity range_1 | Capacity range_2 | Capacity range_3 | Heating elements type | Capacity range_1 | Capacity range_2 | Capacity range_3 | Water heater_min rows | Water heater_max rows | Water cooler_min rows | Water cooler_max rows | DXH_min rows | DXH_max rows | DXH sections range | Available refrigerant types | Filter type_typ1 | Filtration class_typ1 | Filtration efficiency_typ1 | Initial PD at nominal airflow_typ1 | Final PD_typ1 | Filter type_typ2 | Filtration class_typ1 | Filtration efficiency_typ1 | Initial PD at nominal airflow_typ1 | Final PD_typ1 | Silencer casing | Unit size | Recovery type1 | Recovery type2 | Minimum airflow | Maximum airflow | Maximum airflow (ErP2018) | Air speed on Filter at max airflow (ErP) | Internal Width (Supply Filter) | Internal Height (Supply Filter) | Unit cross section area (Supply Filter) | Internal Width (Supply Fan) | Internal Height (Supply Fan) | x1 | x2 | x3 | x4 | x5 | y1 | y2 | y3 | y4 | y5 | x6 | x7 | x8 | x9 | x10 | y6 | y7 | y8 | y9 | y10 | Unit cross section area (Supply Fan) | Duct connection Width | Duct connection Height | x11 | x12 | x13 | x14 | x15 | y11 | y12 | y13 | y14 | y15 | Duct connection Diameter | Rotary wheel_typ1 | Wheel diameter | Distance between lamels | Efficiency at nominal balanced airflows | Efficiency at max balanced airflows | Rotary wheel_typ2 | Wheel diameter | Distance between lamels | Efficiency at nominal balanced airflows | Efficiency at max balanced airflows | HEX material_typ1 | Efficiency at nominal balanced airflows | Efficiency at max balanced airflows | HEX material_typ2 | Efficiency at nominal balanced airflows | Efficiency at max balanced airflows | Motor type | Motor quantity | Motor rated power | Impeller size | Impeller efficiency at nominal airflow | Heating elements type | Capacity range_1 | Capacity range_2 | Capacity range_3 | Heating elements type | Capacity range_1 | Capacity range_2 | Capacity range_3 | Water heater_min rows | Water heater_max rows | Water cooler_min rows | Water cooler_max rows | DXH_min rows | DXH_max rows | DXH sections range | Available refrigerant types | Filter type_typ1 | Filtration class_typ1 | Filtration efficiency_typ1 | Initial PD at nominal airflow_typ1 | Final PD_typ1 | Filter type_typ2 | Filtration class_typ1 | Filtration efficiency_typ1 | Initial PD at nominal airflow_typ1 | Final PD_typ1 | Silencer casing
Q1 | 2025 | VTS | VTS.png | CER | Ventus Platinium.png | Ventus Platinium | Compact | Floor-mounted | 6 | 6 | YES | D1 | L1 | L1 | F9 | T2 | TB2 | NO | NO | NO | NO | YES | YES | NO | PUF | 50 | Galvinised steel | 0.4 | AlZn | 0.6 | VVSA11c | RRG | HEX | 420 | 1600 | 1600 | 1.9 | 500 | 700 | 0.5 | 550 | 750 | 5 | 5 | 931 | 931 | 5 | 5 | 418 | 418 | 5 | 5 | 5 | 5 | 931 | 931 | 5 | 5 | 418 | 418 | 5 | 5 | 0.6 | 931 | 418 | 5 | 5 | 931 | 931 | 5 | 5 | 418 | 418 | 5 | 5 | 315 | NH.RRG | 550 | 1.6 | 75 | 73 | Total | 550 | 1.6 | 75 | 73 | AL | 82 | 81 | HIPS | 82 | 81 | EC | 1 | 0.7 | 250 | 70 | Tubular | 3 | 6 | 9 | Tubular | 3 | 6 | 9 | 1 | 2 | 2 | 6 | 2 | 6 | 1 | R410A | Bag | F7 | 70 | 150 | 350 | Bag | M5 | 70 | 150 | 350 | NO | VVSA14c | RRG | HEX | 420 | 1600 | 1600 | 1.9 | 500 | 700 | 0.5 | 550 | 750 | 5 | 5 | 931 | 931 | 5 | 5 | 418 | 418 | 5 | 5 | 5 | 5 | 931 | 931 | 5 | 5 | 418 | 418 | 5 | 5 | 0.6 | 931 | 418 | 5 | 5 | 931 | 931 | 5 | 5 | 418 | 418 | 5 | 5 | 315 | NH.RRG | 550 | 1.6 | 75 | 73 | Total | 550 | 1.6 | 75 | 73 | AL | 82 | 81 | HIPS | 82 | 81 | EC | 1 | 0.7 | 250 | 70 | Tubular | 3 | 6 | 9 | Tubular | 3 | 6 | 9 | 1 | 2 | 2 | 6 | 2 | 6 | 1 | R410A | Bag | F7 | 70 | 150 | 350 | Bag | M5 | 70 | 150 | 350 | NO | VVSA22c | RRG | HEX | 420 | 1600 | 1600 | 1.9 | 500 | 700 | 0.5 | 550 | 750 | 5 | 5 | 931 | 931 | 5 | 5 | 418 | 418 | 5 | 5 | 5 | 5 | 931 | 931 | 5 | 5 | 418 | 418 | 5 | 5 | 0.6 | 931 | 418 | 5 | 5 | 931 | 931 | 5 | 5 | 418 | 418 | 5 | 5 | 315 | NH.RRG | 550 | 1.6 | 75 | 73 | Total | 550 | 1.6 | 75 | 73 | AL | 82 | 81 | HIPS | 82 | 81 | EC | 1 | 0.7 | 250 | 70 | Tubular | 3 | 6 | 9 | Tubular | 3 | 6 | 9 | 1 | 2 | 2 | 6 | 2 | 6 | 1 | R410A | Bag | F7 | 70 | 150 | 350 | Bag | M5 | 70 | 150 | 350 | NO
Q2 | 2025 | VTS | VTS.png | CER | Ventus Platinium.png | Ventus Platinium | Compact | Floor-mounted | 6 | 6 | YES | D1 | L1 | L1 | F9 | T2 | TB2 | NO | NO | NO | NO | YES | YES | NO | PUF | 50 | Galvinised steel | 0.4 | AlZn | 0.6 | VVSA11c | RRG | HEX | 420 | 1600 | 1600 | 1.9 | 500 | 700 | 0.5 | 550 | 750 | 5 | 5 | 931 | 931 | 5 | 5 | 418 | 418 | 5 | 5 | 5 | 5 | 931 | 931 | 5 | 5 | 418 | 418 | 5 | 5 | 0.6 | 931 | 418 | 5 | 5 | 931 | 931 | 5 | 5 | 418 | 418 | 5 | 5 | 315 | NH.RRG | 550 | 1.6 | 75 | 73 | Total | 550 | 1.6 | 75 | 73 | AL | 82 | 81 | HIPS | 82 | 81 | EC | 1 | 0.7 | 250 | 70 | Tubular | 3 | 6 | 9 | Tubular | 3 | 6 | 9 | 1 | 2 | 2 | 6 | 2 | 6 | 1 | R410A | Bag | F7 | 70 | 150 | 350 | Bag | M5 | 70 | 150 | 350 | NO | VVSA14c | RRG | HEX | 420 | 1600 | 1600 | 1.9 | 500 | 700 | 0.5 | 550 | 750 | 5 | 5 | 931 | 931 | 5 | 5 | 418 | 418 | 5 | 5 | 5 | 5 | 931 | 931 | 5 | 5 | 418 | 418 | 5 | 5 | 0.6 | 931 | 418 | 5 | 5 | 931 | 931 | 5 | 5 | 418 | 418 | 5 | 5 | 315 | NH.RRG | 550 | 1.6 | 75 | 73 | Total | 550 | 1.6 | 75 | 73 | AL | 82 | 81 | HIPS | 82 | 81 | EC | 1 | 0.7 | 250 | 70 | Tubular | 3 | 6 | 9 | Tubular | 3 | 6 | 9 | 1 | 2 | 2 | 6 | 2 | 6 | 1 | R410A | Bag | F7 | 70 | 150 | 350 | Bag | M5 | 70 | 150 | 350 | NO | VVSA22c | RRG | HEX | 420 | 1600 | 1600 | 1.9 | 500 | 700 | 0.5 | 550 | 750 | 5 | 5 | 931 | 931 | 5 | 5 | 418 | 418 | 5 | 5 | 5 | 5 | 931 | 931 | 5 | 5 | 418 | 418 | 5 | 5 | 0.6 | 931 | 418 | 5 | 5 | 931 | 931 | 5 | 5 | 418 | 418 | 5 | 5 | 315 | NH.RRG | 550 | 1.6 | 75 | 73 | Total | 550 | 1.6 | 75 | 73 | AL | 82 | 81 | HIPS | 82 | 81 | EC | 1 | 0.7 | 250 | 70 | Tubular | 3 | 6 | 9 | Tubular | 3 | 6 | 9 | 1 | 2 | 2 | 6 | 2 | 6 | 1 | R410A | Bag | F7 | 70 | 150 | 350 | Bag | M5 | 70 | 150 | 350 | NO
Q3
Q4